## Slide 1: 64Cu and 47Sc (n,p) Cross-Section Measurements for Medical Radionuclide Production
A.S. Voylesa, M.S. Basuniab, J.C. Batchelderb, J.D. Bauerc, L.A. Bernsteina,b, E.F. Matthewsa, M.A. Unzuetaa
31 August 2016
WTTC ’16
a The University of California, Berkeley – Department of Nuclear Engineering b Lawrence Berkeley National Laboratory c Lawrence Livermore National Laboratory

## Slide 2: Why Should You Care?

## Slide 3: Why Should You Care?
Emerging medical radionuclides
  64Cu (t1/2 = 12.7 hr) – 61% β+ to 64Ni, 39% β- to 64Zn
  47Sc (t1/2 = 3.35 d) – β- to 47Ti, with 159-keV γ

## Slide 4: Why Should You Care?
Emerging medical radionuclides
  64Cu (t1/2 = 12.7 hr) – 61% β+ to 64Ni, 39% β- to 64Zn
  47Sc (t1/2 = 3.35 d) – β- to 47Ti, with 159-keV γ
Nuclear data as fundamental tools

## Slide 5: The UC Berkeley High Flux Neutron Generator
Deuterium Gas
RF
D Plasma
100kV
D beam
1-1000mA
DD Fusion
2.45 MeV neutrons, 108 n/s/cm2
H2O
Commissioning:
25 July 2016

## Slide 6: The UC Berkeley High Flux Neutron Generator
Foils Used | Metal Purity | Abundance (a/o) | Foil Density (mg/cm2)
natIn | > 99.999% | 113In (4.29%), 115In (95.71%) | 365.5
natZn | > 99.99% | 64Zn (49.17%) | 714.1
natTi | 99.999% | 47Ti (7.44%) | 450.6
Notes: 64Zn - 49.17%, 66Zn – 27.73%, 67Zn – 4.04%, 68Zn – 18.45%
46Ti – 8.25%, 47Ti – 7.44%, 48Ti – 73.72%, 49Ti – 5.41%, 50Ti – 5.18%

## Slide 7: The UC Berkeley High Flux Neutron Generator
Zn
In
Zn
In

## Slide 8: The UC Berkeley High Flux Neutron Generator
Zn
In

## Slide 9: Relative Activation Measurements
Ortec 80% HPGe detector
Ortec Planar LEPS detector

## Slide 10
336 keV - 115m In IT Decay
391 keV - 113m In IT Decay
417 keV - 116 In β- Decay
511 keV - 64 Cu β+ Decay
Relative Activation Measurements

## Slide 11
336 keV - 115m In IT Decay
391 keV - 113m In IT Decay
417 keV - 116 In β- Decay
511 keV - 64 Cu β+ Decay
Relative Activation Measurements
t1/2 = 4.519 ± 0.044 h
(ENSDF = 4.486 h)
χ2 /ν = 1.656
t1/2 = 12.097 ± 0.8348 h
(ENSDF = 12.701 h)
χ2 /ν = 1.743
Notes: Producing O(10 kBq), with dead time < 5%

## Slide 12
Relative Activation Measurements

## Slide 13
Neutron Energy Spread
Titanium
D
d
n
n
n
n
θ

## Slide 14
Neutron Energy Spread
H. Liskien et al., Nucl Data Tables, vol 11, 2973

## Slide 15
Neutron Energy Spread

## Slide 16
Neutron Energy Spread

## Slide 17
Neutron Energy Spread

## Slide 18
Neutron Energy Spread
Neutron flux profile modeled in each target and monitor foil, using MCNP6

## Slide 19
Neutron Energy Spread
Before…

## Slide 20
Neutron Energy Spread
After!

## Slide 21
Neutron Energy Spread
After!

## Slide 22
Monoenergetic Beam: 104-6 n/s/cm2
Internal:
108 n/s/cm2
Future Work

## Slide 23
7Li(p,n) neutron
production target
Future Work
(p/d/α, x) and (n,x) Cross Section Measurements at the LBL 88 Inch Cyclotron

## Slide 24: Acknowledgements
This work has been carried out at the University of California, Berkeley, and performed under theauspices of the U.S. Department of Energy by Lawrence Livermore National Laboratory under contract DE-AC52-07NA27344 and Lawrence Berkeley National Laboratory under contract # DE-AC02-05CH11231. Funding has been provided from the US Nuclear Regulatory Commission and the US Nuclear Data Program.
H. F. Aly et al., Microchim. Acta, vol. 59, no. 1, 1971.
K. S. Bhatki et al., J. Radioanal. Chem., vol. 2, no. 1–2, 1969.
T. H. Bokhari et al., J. Radioanal. Nucl. Chem., vol. 283, no. 2, 2010.
J. F. Briesmeister et al., Los Alamos National Laboratory, 1986.
M. B. Chadwick,et al., Nucl. Data Sheets, vol. 107, no. 12, 2006.
A. J. Koning et al., AIP Conference Proceedings, 2005, vol. 769, no. 2. H. Liskien et al., Nucl. Data Tables, vol 11, 1973.
M. R. Lewis et al., J. Nucl. Med., vol. 44, no. 8, Aug. 2003.
C. Müller et al., J. Nucl. Med., vol. 55, no. 10, Oct. 2014.
N. Otuka et al., Nucl. Data Sheets, vol. 120, 2014.
L. Pietrelli et al., J. Radioanal. Nucl. Chem., vol. 157, no. 2, 1992.
S. M. Qaim et al., IAEA Technical Reports Series No. 473, 2011.
D. Updegraff et al., “Nuclear Medicine without Nuclear Reactors or Uranium Enrichment,” 2013.