## Slide 1: Nuclear Excitation Functions for Production of Novel Medical Radionuclides
Andrew S. Voyles
03 August 2017 – PhD Oral Qualifying Exam

## Slide 2: Overview
Background & History of Nuclear Medicine
64Cu and 47Sc (n,p) Cross-Section Measurements
Stacked-target charged particle excitation functions

## Slide 3: Background & History of Nuclear Medicine
___________________________

## Slide 4: Nuclear Medicine in the U.S.
Dates back to 1946 – 14C production at ORNL Graphite Reactor1
Per the US Society of Nuclear Medicine & Molecular Imaging, approximately 17 million nuclear medicine (diagnostic and therapeutic, on top of another ~130M of radiology) procedures are performed in the US annually
  Nearly 1 in 20 people!
  Annual industry estimated at $2.4 B
[2] United States Government Accountability Office and U.S. General Accounting Office, Report GAO-08-452,2008.
[1] C. L. Edwards, Semin. Nucl. Med., vol. 9, no. 3, pp. 186–189, Jul. 1979.

## Slide 5: Nuclear Medicine in the U.S.
[1] C. Whipple and S. Larson, Medical Isotope Production Without Highly Enriched Uranium, 2009.
[2] United States Government Accountability Office and U.S. General Accounting Office, Report GAO-08-452,2008.
[3] A. N. Khalid, et al, Arch. Otolaryngol. Neck Surg., vol. 132, no. 3, pp. 244–250, 2006.
Major isotopes in modern clinical nuclear medicine:
  99mTc
    Diagnostic isotope for cardiac, renal, lung function, tumor imaging
    Produced as fission product in thermal reactors
    Costs per 10-mCi dose ranges $20-401
  18F
    PET isotope used for metabolic tumor & metastasis imaging
    Produced by K-15 medical cyclotrons via 18O(p,n)18F
    Costs per 5-mCi dose ranges $400-8002
  131I
    β-therapy isotope used for treatment of cancers, including thyroid and neuroendocrine
    Produced as fission product in thermal reactors
    Costs per 200-mCi dose approximately $2003
Wikimedia Commons

## Slide 6: Nuclear Medicine in the U.S.
[1] C. Whipple and S. Larson, Medical Isotope Production Without Highly Enriched Uranium, 2009.
[2] United States Government Accountability Office and U.S. General Accounting Office, Report GAO-08-452,2008.
[3] A. N. Khalid, et al, “Arch. Otolaryngol. Neck Surg., vol. 132, no. 3, pp. 244–250, 2006.
Major isotopes in modern clinical nuclear medicine:
  99mTc
    Diagnostic isotope for cardiac, renal, lung function, tumor imaging
    Produced as fission product in thermal reactors
    Costs per 10-mCi dose ranges $20-401
  18F
    PET isotope used for metabolic tumor & metastasis imaging
    Produced by K~15 medical cyclotrons via 18O(p,n)18F
    Costs per 5-mCi dose ranges $400-8002
  131I
    β-therapy isotope used for treatment of cancers, including thyroid and neuroendocrine
    Produced as fission product in thermal reactors
    Costs per 200-mCi dose approximately $2003
Dr. Jonathan McConathy, Washington University in St. Louis
Notes: Myocardial perfusion (cardiac stress test) scan costs ~ $900-$3000
E/A = K (Q/A)^2

## Slide 7: Nuclear Medicine in the U.S.
Major isotopes in modern clinical nuclear medicine:
  99mTc
    Diagnostic isotope for cardiac, renal, lung function, tumor imaging
    Produced as fission product in thermal reactors
    Costs per 10-mCi dose ranges $20-401
  18F
    PET isotope used for metabolic tumor & metastasis imaging
    Produced by K~15 medical cyclotrons via 18O(p,n)18F
    Costs per 5-mCi dose ranges $400-8002
  131I
    β-therapy isotope used for treatment of cancers, including thyroid and neuroendocrine
    Produced as fission product in thermal reactors
    Costs per 200-mCi dose approximately $2003
[1] C. Whipple and S. Larson, Medical Isotope Production Without Highly Enriched Uranium, 2009.
[2] United States Government Accountability Office and U.S. General Accounting Office, Report GAO-08-452,2008.
[3] A. N. Khalid, et al, “Arch. Otolaryngol. Neck Surg., vol. 132, no. 3, pp. 244–250, 2006.

## Slide 8: Nuclear Medicine in the U.S.
Established medical radioisotopes face several challenges:
  Non-ideal decay properties for desired application
    Extra dose
    Extra range
  Curtailment of production facilities (99mTc)
  Thermal reactor issues
    Low yield
    Difficult radiochemical purification
    Feasibility & deployability
Why do we keep doing this?
How can we improve this?

## Slide 9: Nuclear Medicine in the U.S.
Established medical radioisotopes face several challenges:
  Non-ideal decay properties for desired application
    Extra dose
    Extra range
  Curtailment of production facilities (99mTc)
  Thermal reactor issues
    Low yield
    Difficult radiochemical purification
    Feasibility & deployability
Why do we keep doing this?
How can we improve this?
…and new paradigms for isotope production!
Novel isotopes…

## Slide 10: Some perspective
Notes: Dr Qaim - plenary speaker and instigator of priority isotopes

## Slide 11: Some perspective
NDNCA Whitepaper available at http://bang.berkeley.edu/events/ndnca/whitepaper/
Highlight from WTTC 2016: 54Fe(p,α)51Mn

## Slide 12: Some perspective

## Slide 13: Some perspective
Emerging trends for next-generation (targeted & personalized) nuclear medicine:
  Targeted alpha therapy (5-10 MeV)
    40-80 μm range  single cell
  Targeted Auger therapy (20 eV – 1 keV)
    1 nm – 2 μm  cellular nucleus
  Theranostic medicine
    Simultaneous imaging and therapy

## Slide 14: Overview
Ongoing targeted experimental campaign to address these needs:
  (n,p) production cross sections – UCB
  Stacked-target charged particle excitation functions
    Low energy – LBNL
    Moderate energy – LANL
    Bonus – spin distribution of excited nuclear states

## Slide 15: Theory
___________________________

## Slide 16: 64Cu and 47Sc (n,p) Cross-Section Measurements
___________________________

## Slide 17: Medical Applications
Emerging medical radionuclides
  64Cu (t1/2 = 12.7 hr) – 61% β+ to 64Ni, 39% β- to 64Zn
  47Sc (t1/2 = 3.35 d) – β- to 47Ti, with 159-keV γ

## Slide 18: The UC Berkeley High Flux Neutron Generator
Deuterium Gas
RF
D Plasma
100kV
D beam
1-1000mA
DD Fusion
2.45 MeV neutrons, 107 n/s/cm2
Extraction Plate: 5mm diameter
H2O

## Slide 19: Why (n,p) via DD neutrons?
Advantages over thermal reactors:
  Co-production of many unwanted activities via (n,γ)
  Far cheaper startup costs, no proliferation concerns
Advantages over DT neutrons:
  14-15 MeV DT neutrons open up unwanted (n,pxn) channels, contaminating the desired product
  No tritium handling concerns
2-3 MeV DD neutrons are ideal for (n,p) and (n,α) production, but often suffer from fairly low flux, and poor nuclear data

## Slide 20: The UC Berkeley High Flux Neutron Generator
Foils Used | Metal Purity | Abundance (a/o) | Foil Density (mg/cm2)
natIn | > 99.999% | 113In (4.29%), 115In (95.71%) | 365.5
natZn | > 99.99% | 64Zn (49.17%) | 714.1
natTi | 99.999% | 47Ti (7.44%) | 450.6
Dosimetry: IRDFF 113/115In(n,n’)113m/115mIn standards
Notes: 64Zn - 49.17%, 66Zn – 27.73%, 67Zn – 4.04%, 68Zn – 18.45%
46Ti – 8.25%, 47Ti – 7.44%, 48Ti – 73.72%, 49Ti – 5.41%, 50Ti – 5.18%

## Slide 21: The UC Berkeley High Flux Neutron Generator
Zn
In
Zn
In

## Slide 22: The UC Berkeley High Flux Neutron Generator
Zn
In

## Slide 23: Relative Activation Measurements

## Slide 24: Relative Activation Measurements
Ortec 80% HPGe detector
Ortec Planar LEPS detector

## Slide 25
Relative Activation Measurements

## Slide 26
Relative Activation Measurements
t1/2 = 4.519 ± 0.016 h
(Accepted = 4.486 h)
χ2 /ν = 1.653
t1/2 = 12.10 ± 0.85 h
(Accepted = 12.701 h)
χ2 /ν = 1.743
Notes: Producing O(10 kBq), with dead time < 5%

## Slide 27
Relative Activation Measurements
What’s going on???

## Slide 28
Neutron Energy Spread
Titanium
D
d
n
n
n
n
θ

## Slide 29
Neutron Energy Spread
Neutron Energy Spread
Relative fluxes as seen by a 3 x 3 array of 0.5-cm diameter indium foils. The central foil corresponds to the location in which target and monitor
foils were mounted during the cross section measurements, verifying
that the beam is centered on the middle of mounted foils

## Slide 30
Neutron Energy Spread
H. Liskien et al., Nucl Data Tables, vol 11, 2973
Neutron Energy Spread
Neutron flux profile modeled in target and monitor foil, using MCNP6

## Slide 31
Neutron Energy Spread
H. Liskien et al., Nucl Data Tables, vol 11, 2973
Neutron Energy Spread
Neutron flux profile modeled in target and monitor foil, using MCNP6
Emax = Maximum energy neutron subtended by foil
F(E’) = Fraction of Total Reactions induced up to energy E’
<E>
+σ<E>
-σ<E>

## Slide 32
Neutron Energy Spread
Before…
64Zn(n,p)64Cu
47Ti(n,p)47Sc

## Slide 33
Neutron Energy Spread
After!
64Zn(n,p)64Cu
47Ti(n,p)47Sc

## Slide 34
Neutron Energy Spread
After!
64Zn(n,p)64Cu
47Ti(n,p)47Sc
47Ti(n,p)47Sc

## Slide 35
Neutron Energy Systematics
Indium foils also undergo 115In(n, γ)116In, which emits a 417 keV γ following β- decay
  Capture is strongly subject to thermal neutron contamination, as the (n, γ) cross section at 25 meV is ~ 2000x that at 2.7 MeV
  MCNP neutron energy spectrum estimates thermal & epithermal neutrons comprise 0.0771% of all neutrons
  Confirmed experimentally - production of 116In was consistent with an effective neutron energy of 2.45 MeV
    Activation consistent with predominantly fast neutron capture confirms paucity of “room return” thermal neutrons
    Highlights the possibility of using HFNG-like designs for (n,p) isotope production free from (n, γ) contamination products!

## Slide 36
Neutron Energy Systematics
Use of Indium activation to assign the effective energy window for activation foils introduces a small systematic uncertainty, as the two have differing reaction threshold energies
  Convolution of IRDFF In(n,n’) cross sections with our MCNP neutron flux profile predicts that the total activity in the In produced by the low energy neutrons (below the “knee” near 2.25 MeV is 2.17%.
  If we trust the (n,p) excitation functions for Zn and Ti from TALYS, the corresponding values from TALYS for the Cu and Sc activity are 0.24% and 0.85%, respectively.
  If we assume an uncertainty of ±50% in the TALYS calculations in this energy region, this would lead to a shift in (n,p) cross sections for the Cu and Sc activities of 0.12% and 0.42%, respectively.

## Slide 37
Neutron Utilization

## Slide 38
Neutron Utilization
Theoretical saturation activities are currently estimated at 1.5 kBq of 64Cu, 0.11 kBq of 47Sc
  Measured production rates were 453.8 Bq of 64Cu, 31.6 Bq of 47Sc
  Implies η ≈ 3 x 10-5 (64Cu), η ≈ 1 x 10-5 (47Sc)

## Slide 39: Stacked-target Charged Particle Excitation Functions
___________________________
Low Energy – LBNL

## Slide 40: Why charged particle production?
Cyclotron
  Many hospitals have small K~15 medical cyclotrons for PET tracer production
  Leverage existing infrastructure
  Explore higher energies for regional research cyclotrons, basic science
Linac
  Commonly used for high-energy production (LANL – IPF)
  Useful for anchoring to complementary low-energy measurements

## Slide 41
Emerging medical radionuclides
  51Mn (t1/2 = 46 min, 97% β+) – short-lived PET tracer for metabolic studies
  52gMn (t1/2 = 5.6 d, 29% β+) – long-lived PET tracer for neuron tracking, immune studies
  Manganese has well-established biochemistry and uptake via DOTA-based chelation
51,52Mn - Motivation
Mn
Mn
  Almost no Fe(p,x) XS measurements exist – can use these to probe spin physics in the A≈50 region
Notes: The four secondary amine groups are modified by replacement of the N-H centers with N-CH2CO2H groups. The resulting aminopolycarboxylic acid, upon ionization of the carboxylic acid groups, is a high affinity chelating agent for di- and trivalent cations.

## Slide 42
Methodology
K-140
Notes: Cyclotron freq w = Q B / m
T = (m/2) w^2 r^2
T/A = (B r / 2 m)^2 (Q/A)^2 = K (Q/A)^2

## Slide 43
  Two overlapping stacks: Ep= 5521 MeV, 2511 MeV
  (120 nA@10 min, 100 nA@20 min)
L. Bernstein
A. Springer
2.5 cm

## Slide 44
Methodology
Initial stack design planned using analytic Anderson & Ziegler stopping power formalism (SRIM)1
  Contains empirical corrections to Bethe-Bloch for nuclear stopping, low-energy stopping power
[1] J.F. Ziegler,, J. Appl. Phys. 85 (1999) 1249–1272.
Notes: Beta = v/c
I ~ 10 eV * Z

## Slide 45
25 μm-thin natFe, natCu, natTi foils in 0.1” Al frames
Dosimetry: IAEA charged particle beam monitor reactions:
  natTi(p,x)48V
  natCu(p,x)62,63,65Zn
  nds.iaea.org/medical/monitor_reactions.html
2.5 cm

## Slide 46
Spectroscopy
natFe(p,x)51Mn  51Cr  51V
51Mn decay has no strong gammas, just annihilation 511’s
Production is quantified using the 51Cr decay 320.1 keV line
ε, t1/2= 27.7 d
ε, t1/2= 46.2 m

## Slide 47
Spectroscopy
51Mn β’s have max energy of 963.67 keV
NIST ESTAR tables list aluminum CSDA range of 0.4873 g/cm2 = 0.18 cm
Notes: CSDA assumes total stopping power at all points – simply integral of dE/dx * dx

## Slide 48
Fe(p,x)
Ti(p,x)
Cu(p,x)

## Slide 49
Data Analysis Issues
Why is no activity seen in Ti20 / Cu20?

## Slide 50
Notes: Monitor foils as “canary in the coal mine”

## Slide 51
Acrylic Adhesive
Acrylic Adhesive
Corrected Energy Assignments
Activation Foil
Kapton
Kapton
25 μm @1.42 g/cm3 = 3.55 mg/cm2
25 μm = 11 - 23 mg/cm2
38 μm @1.18 g/cm3 = 4.48 mg/cm2
25 μm @1.42 g/cm3 = 3.55 mg/cm2
38 μm @1.18 g/cm3 = 4.48 mg/cm2

## Slide 52
Corrected Energy Assignments

## Slide 54
S. A. Graves, P. A. Ellison, T. E. Barnhart, H. F. Valdovinos, E. R. Birnbaum, F. M. Nortier, R. J. Nickles, and J. W. Engle, Nucl. Instruments Methods Phys. Res. Sect. B Beam Interact. with Mater. Atoms, vol. 386, pp. 44–53, Nov. 2016.
LANL sees the same issue…

## Slide 55
Corrected Energy Assignments
Minimize in 2D:
  Effective adhesive areal density (±20%, in 1% steps = 41 trials)
  Initial beam energy dispersion (0.5%, 1%, 1.5%, 2% = 4 trials)
    164 simulations  Running on UCB Savio HPC
  Adhesive should have a much stronger impact than beam dispersion

## Slide 56
Corrected Energy Assignments
Goal: Minimize standard deviation of

## Slide 57
Preliminary
Using current from charge integrator
Expected region for (p,xn)52Mn peak…
Notes: Discrepancy possible causes :
Still using current from charge integrator, once energy assignment is finished, monitor foils will provide renormalization to true current
Direct production of 51Cr creates “extra” cross section
Low peak is 54Fe(p,x), high peak is 56Fe(p,x)

## Slide 59
Preliminary

## Slide 60
Constant Temperature + Fermi Gas:
In TALYS, Rspin-cut is used as a tunable scaling parameter for σ2
[1] T. von Egidy and D. Bucurescu, Phys. Rev. C, vol. 80, no. 5, p. 54310, Nov. 2009.
[1] S. M. Qaim, Nucl. Med. Biol., vol. 44, pp. 31–49, 2016.
Spin Distribution
Notes: Spin cut-off paramater (sigma) represents the J distribution width of the level density – tuning parameter

## Slide 61
  Results consistent with R≈1 at high energy.
  At low energy, results are ambiguous due to energy straggling.
Preliminary

## Slide 62
Spin Distribution Application
Through its impact on nuclear level densities, the spin cut-off parameter has a strong impact on the favoring of higher-spin isomers in charged particle-induced reactions – a “tuning parameter” for isomer-to-ground state branching ratio
  Reaction physics codes can be used to model (σm/σg) when experimental data is unavailable
  Case study: 177Lu
    177gLu (t1/2 = 6.7 d) – emerging β- therapy agent
    177mLu (t1/2 = 160 d) – contributes extra dose to patient, without therapeutic or diagnostic benefit
    Improved spin distribution measurements can improve modeling to guide production studies

## Slide 63: Stacked-target Charged Particle Excitation Functions
___________________________
Moderate Energy – LANL

## Slide 64: Measurements @ LANL – Nb(p,x)
natNb(p,4n)90Mo is a high-priority objective as a new proton beam dosimetry standard for Ep ≈ 50 – 100 MeV
  Other emerging radionuclides: 82mRb, 86Y, 89Zr, 90Nb
ε+β+ |  |  |  |  |  |  |  | 
IT |  |  |  |  |  |  | 93Nb | 
 |  |  |  |  |  |  |  | β-
100 MeV p+
N
Z

## Slide 65: Measurements @ LANL – Nb(p,x)
natNb(p,4n)90Mo is a high-priority objective as a new proton beam dosimetry standard for Ep ≈ 50 – 100 MeV
  Other emerging radionuclides: 82mRb, 86Y, 89Zr, 90Nb
ε+β+ |  |  |  |  |  |  | 94Mo | 
IT |  |  |  |  |  |  | 93Nb | 
 |  |  |  |  |  |  |  | β-
100 MeV p+
N
Z

## Slide 66: Measurements @ LANL – Nb(p,x)
natNb(p,4n)90Mo is a high-priority objective as a new proton beam dosimetry standard for Ep ≈ 50 – 100 MeV
  Other emerging radionuclides: 82mRb, 86Y, 89Zr, 90Nb
ε+β+ |  |  | 90Mo |  |  | 93mMo | 94Mo | 
IT |  |  | 89mNb 89Nb | 90Nb | 91mNb | 92mNb | 93Nb | 
 | 86Zr |  | 88Zr | 89Zr |  |  |  | 
 |  | 86Y | 87mY 87Y | 88Y |  |  |  | 
83Sr |  | 85mSr |  |  |  |  |  | 
82mRb |  |  |  |  |  |  |  | β-
100 MeV p+
N
Z

## Slide 67: Measurements @ LANL – Nb(p,x)
Proton Injectors
p+
p-
750 keV
100 MeV
800 MeV
To research centers
201.25 MHz Drift Tube Linac
IPF
805 MHz Side-Coupled Cavity Linac
800 m
p-
p+
h+

## Slide 68: Measurements @ LANL – Nb(p,x)
LBNL: 5 – 55 MeV / A, LANL: 45 – 100 MeV p+
Complementary measurements explore reaction dynamics in different energy regimes, overlap region of 45-55 MeV builds confidence and consistency in results.
100 MeV p+
M. Nortier
100 nA @ 3 hr

## Slide 69
Measurements @ LANL – Nb(p,x)

## Slide 70
Measurements @ LANL – Nb(p,x)
1894 unique peaks across 107 spectra

## Slide 71
Measurements @ LANL – Nb(p,x)

## Slide 72
S. A. Graves, P. A. Ellison, T. E. Barnhart, H. F. Valdovinos, E. R. Birnbaum, F. M. Nortier, R. J. Nickles, and J. W. Engle, Nucl. Instruments Methods Phys. Res. Sect. B Beam Interact. with Mater. Atoms, vol. 386, pp. 44–53, Nov. 2016.

## Slide 73
Measurements @ LANL – Nb(p,x)
Preliminary

## Slide 74
Preliminary
Measurements @ LANL – Nb(p,x)

## Slide 75: Summary
Provides first / vastly improved production measurements for each of the isotopes listed here
Thin-target measurements in this work provide an ideal jumping-off point to begin thick-target yields for commercial application, as well as radiochemical workup
Demonstrated ability to measure excitation functions for emerging medical radionuclides through 3 different production paradigms

## Slide 76: Path Forward
natFe(p,x)
  Complete minimization of inter-reaction fluences for final energy assignment and stack fluence
  Identify and quantify additional activities produced
Nb(p,x)
  Complete minimization of inter-reaction fluences for final energy assignment and stack fluence
  All activities are quantified – energy assignments are all that remain to normalize into absolute cross sections
  Finish spin distribution analysis for isomers produced
08 September - natLa(p,6n)134Ce @ 88
  Positron analogue for 225Ac development

## Slide 77: Thank you!

## Slide 78: Extra Slides
___________________________

## Slide 79: Cross-Section Systematics

## Slide 80
Neutron Utilization
Theoretical saturation activities are currently estimated at 1.5 kBq of 64Cu, 0.11 kBq of 47Sc
  Measured production rates were 453.8 Bq of 64Cu, 31.6 Bq of 47Sc
  Implies η ≈ 29.9%
Path to upgrades:
  Thicker activation target (1 cm)  factor 10
  Increased current, run second ion source  factor 60
  Switch to DT operation  factor 80
  Higher (n,p) cross section at DT energies  factor 3
  Estimated saturation activities of 6 mCi 64Cu, 0.5 mCi 47Sc

## Slide 81: Decay Schemes

## Slide 89: Granddaughter Decay Spectroscopy

## Slide 93
S. A. Graves, P. A. Ellison, T. E. Barnhart, H. F. Valdovinos, E. R. Birnbaum, F. M. Nortier, R. J. Nickles, and J. W. Engle, Nucl. Instruments Methods Phys. Res. Sect. B Beam Interact. with Mater. Atoms, vol. 386, pp. 44–53, Nov. 2016.